## Slide 1: Blinking-Based Multiplexing Imaging Using Squaraine Dyes
September 6
Kirill Kniazev

## Slide 2: Introduction
Example of Fluorescence imaging and
Single Molecule Localized Microscopy Image
Notes: Kniazev, K.; Guo, T.; Zhai, C.; et. al.; Single-molecule characterization of a bright and photostable deep-red fluorescent squaraine-figure-eight (SF8) dye. Dyes and Pigments. 2023. 210. 111031.

## Slide 3: Introduction to Dyes
Dyes Absorption and Emission
Absorption (a) and Emission (b) spectra of SF8(D4)2 and Cy5 in H2O.
Absorption window: 610 - 680 nm
Emission window: 640 - 710 nm
Structures and SF8(D4)2 and Cy5 dyes
Notes: Kniazev, K.; Guo, T.; Zhai, C.; et. al.; Single-molecule characterization of a bright and photostable deep-red fluorescent squaraine-figure-eight (SF8) dye. Dyes and Pigments. 2023. 210. 111031.

## Slide 4: Experimental Setup with Sample Preparation
TIRF Microscope
Experimental Set up
Accelerating and Slow down: 1 second
Spinning: 60 seconds
Rotations Per Minute: 2000
Spin coating process
Notes: Kniazev, K.; Guo, T.; Zhai, C.; et. al.; Single-molecule characterization of a bright and photostable deep-red fluorescent squaraine-figure-eight (SF8) dye. Dyes and Pigments. 2023. 210. 111031.
“Modeling and the main stages of spin coating process: A review”, JASTT, vol. 2, no. 02, pp. 119–123, Aug. 2021, doi: 10.38094/jastt203109.

## Slide 5: Data Processing - Denoising
Cy5 at 20 W/cm2
Representative TIRF movie
Original Movie
1st frame @ high contrast
1st frame @ high contrast
Original
Denoised
Denoised Movie
fit = kx+b
k = 0.012
k = 0.002
Simplifies thresholding and thus particles detection

## Slide 6: Data Processing – Particles Tracking
Goodson Lab:
First frame of the movie
Zoom in
Represented trace of the detected particle

## Slide 7: Received Photons
Goodson Lab:
, (1)
c is the raw count from the camera
bias offset is instrumental offices
g is the pre-amplifier gain
G is the EM Gain
QE is the quantum efficiency of the camera at the selected wavelength

## Slide 8: Emitted Photons
Goodson Lab:
, (2)
is the light collection efficiency of the objective (Eq. 3)
is the optical transmission efficiency of the system.
, (3)
is the half-angle of the cone of light that the objective can collect.
This angle depends on the numerical aperture (NA) of the objective and the refractive index (n) of the medium between the sample and the objective, and can be expressed as: .

## Slide 9: Demo
Performed on SF8(D4)2 and 140 W/cm2 illumination
Notes: Kniazev, K.; Guo, T.; Zhai, C.; et. al.; Single-molecule characterization of a bright and photostable deep-red fluorescent squaraine-figure-eight (SF8) dye. Dyes and Pigments. 2023. 210. 111031.
“Modeling and the main stages of spin coating process: A review”, JASTT, vol. 2, no. 02, pp. 119–123, Aug. 2021, doi: 10.38094/jastt203109.

## Slide 10: Current results – Dyes Characteristics
Cy5
SF8(D4)2
Andor integration time – 9 ms with 2ms interval;
Total movie time 5 min;
Movies are speed up
Representative Traces
Particles average life time

## Slide 11: Current results – BBM Proof
Maximum Projection with labeled SF8 and Cy5 particles
Representative SF8 intensities
Representative Cy5 intensities
Notes: SF8: 112
Cy5: 110,115

## Slide 12: Future – Better blinking characterization
Number of blinking times (a) and duty cycles (b) of dye under different illumination intensities

## Slide 13: Future – Cell Imaging
Diffraction limited and super-resolution image of the cell
Image resolution characterization

## Slide 14: Thank you!